## KPIs
Supply side (MW)
PV | 1000
Wind | 400
Dispatch | 0
Grid import | 0
Total supply | 1400
Demand side (MW)
Total demand | 1300
Served load | 1300
Unserved load | 0
Grid export | 100
Balance check | 1400
Open interactive Sankey

## dispatch
snapshot | PV | Wind | Grid_export
2026-01-01 | 1000 | 400 | -100

## loads
snapshot | Load_node_3_L0_COEF. PERFIL P3.0TDVE | Load_node_1_L1_COEF. PERFIL P2.0TD
2026-01-01 | 500 | 800

## line_flows
snapshot | L12 | L23 | L31 | LPCC3
2026-01-01 | -616.6667 | 383.3333 | 183.3333 | -100
Line loading (%)
snapshot | L12 | L23 | L31 | LPCC3
2026-01-01 | 77.0833 | 38.3333 | 36.6667 | 50

## prices
snapshot | Bus_node_1 | Bus_node_2 | Bus_node_3 | PCC | Bus_battery_1_0
2026-01-01 | 0 | 0 | 0 | 0 | 0